## How to analyze your data
Summary of data
Overall, the data to generate the standard curve (yellow) looks nice. If you do not get a linear trend when you plot your data, it is most likely because you did not pipet accurately while preparing your standards, loading them into the microplate, or adding the BCA reagent.
The absorbance values for the protein samples (red) are just concentrated enough. Con and Indo are a little dilute, but we will manage.
Gather your data
Find the tab with your name on it. From this sheet, use the data for your standard curve (yellow). The absorbance values for the protein samples that you will use are highlighted in red. The serial diluted samples are too dilute to use.
Generate a standard curve - Use excel for ALL calculations!!!
1. You have two data points for each BSA standard. Average these data points. For example, average A1&A2 for 0 ug/ml standard.
2. Plot the average absorbance against the concentration of the BSA standard. Ensure data is on the correct axis.
3. Find the equation of the trendline and place it on the graph.
4. Ensure graph is labeled properly.
Determine the concentration of the protein in each well of the microplate
1. Use the equation for the standard curve to calculate the concentration of protein in A3-A6. This is the concentration of protein after diluting it (20 ul in 180 ul PBS)
Determine the concentration of the protein in the original sample
1. Multiply the concentration of the sample in each well by the dilution factor. Why does this give you the concentration of the original sample?
2. Average the concentrations yielded from A3&A4. Averages the concentration yielded from A4&A5. Why do we average these?

## Janai & Acacia
Value | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | Concentration | Absorbance | Orgin. Concen.
A | 0.094976 | 0.086507 | 0.67032 | 0.25598 | 0.33693 | 0.32457 | 0.044072 | 0.042461 | 0.04296 | 0.046547 | 0.043916 | 0.04441 | 0 | 0.090741 | 0 | 0
B | 0.40574 | 0.29305 | 0.27135 | 0.1562 | 0.22194 | 0.21426 | 0.041331 | 0.045733 | 0.043353 | 0.043431 | 0.043911 | 0.043199 | 125 | 0.3494 | 0.00044632 | 0.00032236
C | 0.65528 | 0.72636 | 0.23653 | 0.14479 | 0.1644 | 0.17768 | 0.036836 | 0.041305 | 0.040411 | 0.043088 | 0.043743 | 0.046556 | 250 | 0.69082 | 0.00072081 | 0.000799
D | 0.97957 | 0.59786 | 0.15527 | 0.099851 | 0.14271 | 0.18567 | 0.03438 | 0.040804 | 0.03798 | 0.040438 | 0.040481 | 0.043465 | 500 | 0.78871 | 0.0010775 | 0.00065764
E | 1.2651 | 1.046 | 0.060452 | 0.020046 | 0.038882 | 0.035956 | 0.040212 | 0.038212 | 0.038243 | 0.040614 | 0.04508 | 0.040995 | 750 | 1.1556 | 0.0013917 | 0.0011506
F | 1.323 | 1.2523 | 0.068069 | 0.081238 | 0.038366 | 0.037846 | 0.041754 | 0.039963 | 0.040237 | 0.04311 | 0.044876 | 0.042249 | 1000 | 1.2877 | 0.0014553 | 0.0013775
G | 1.8624 | 1.8431 | 0.085028 | 0.096796 | 0.041555 | 0.040817 | 0.040844 | 0.044269 | 0.041945 | 0.041916 | 0.040994 | 0.044312 | 1500 | 1.8528 | 0.0020487 | 0.0020274
H | 2.2492 | 2.5246 | 0.11293 | 0.11186 | 0.041516 | 0.040791 | 0.043051 | 0.045663 | 0.041439 | 0.04319 | 0.042416 | 0.042597 | 2000 | 2.3869 | 0.0024741 | 0.0027771
The orginal concentration is given by multiplying the dilution factor times the orginal concetration because the diltion factor was added to the concentrated sample of the protien. The combination of the concentrated sample multiplied by the dilution factor gave the serial dliution we used to find the absorbance and create the standard curve.
| A3 &A4 Con. |  | A4 & A5 Con.
| 0.043266 |  | 0.04271
We calculate the averages of these concentrations because the contain our samples
TPP20 and TPP20+ are our protein samples that we are going to serial dilute.